## Sheet1
sensor_id | sensor_name | node | local | equipment | unit | type | status | apikey | verification_time | minutes_checked | max_delay_time | paused_until | is_receiving_data | data_points_received | last_data_time | time_since_last_data_minutes | data_status | is_critical
12452 | Pulsos T1-T2 | Utilidades | Araçatuba-SP | Torre 1 | - | sensor | REGISTERED | _4GjnOfX1d... | 2025-12-15 15:30:11 | 0 | 0 |  | FALSE | 0 | Disabled |  | DISABLED | FALSE
12453 | Consumo água T1-T2 | Utilidades | Araçatuba-SP | Torre 1 | litro/h | sensor | REGISTERED | _4GjnOfX1d... | 2025-12-15 15:30:11 | 0 | 0 |  | FALSE | 0 | Disabled |  | DISABLED | FALSE
15026 | pH T1 | Utilidades | Araçatuba-SP | Torre 1 | - | sensor | REGISTERED | _4GjnOfX1d... | 2025-12-15 15:30:11 | 60 | 60 |  | TRUE | 2 | 2025-12-15 15:30:00 | 0.2 | ACTIVE | FALSE
15027 | Temp. Bacia T1 | Utilidades | Araçatuba-SP | Torre 1 | °C | sensor | REGISTERED | _4GjnOfX1d... | 2025-12-15 15:30:11 | 60 | 60 |  | TRUE | 2 | 2025-12-15 15:30:00 | 0.2 | ACTIVE | FALSE
15028 | Vazão água alim. T1eT2 | Utilidades | Araçatuba-SP | Torre 1 | lph | sensor | REGISTERED | _4GjnOfX1d... | 2025-12-15 15:30:11 | 60 | 60 |  | TRUE | 2 | 2025-12-15 15:30:00 | 0.2 | ACTIVE | FALSE
15177 | Cond. T1 | Utilidades | Araçatuba-SP | Torre 1 | uS/cm | sensor | REGISTERED | _4GjnOfX1d... | 2025-12-15 15:30:11 | 60 | 60 |  | TRUE | 2 | 2025-12-15 15:30:00 | 0.2 | ACTIVE | FALSE
12454 | Temp. Bacia T4 | Utilidades | Araçatuba-SP | Torre 4 | °C | sensor | REGISTERED | _4GjnOfX1d... | 2025-12-15 15:30:11 | 60 | 60 |  | TRUE | 60 | 2025-12-15 15:29:38 | 0.6 | ACTIVE | FALSE
12455 | Pulsos T4 | Utilidades | Araçatuba-SP | Torre 4 | - | sensor | REGISTERED | _4GjnOfX1d... | 2025-12-15 15:30:11 | 60 | 60 |  | TRUE | 60 | 2025-12-15 15:29:38 | 0.6 | ACTIVE | FALSE
12456 | Consumo água T4 | Utilidades | Araçatuba-SP | Torre 4 | litro/h | sensor | REGISTERED | _4GjnOfX1d... | 2025-12-15 15:30:11 | 60 | 60 |  | FALSE | 0 | No data |  | ACTIVE | TRUE
15029 | pH T2 | Utilidades | Araçatuba-SP | Torre 2 | - | sensor | REGISTERED | _4GjnOfX1d... | 2025-12-15 15:30:11 | 60 | 60 |  | TRUE | 2 | 2025-12-15 15:30:00 | 0.2 | ACTIVE | FALSE
15030 | Temp. Bacia T2 | Utilidades | Araçatuba-SP | Torre 2 | °C | sensor | REGISTERED | _4GjnOfX1d... | 2025-12-15 15:30:11 | 60 | 60 |  | TRUE | 2 | 2025-12-15 15:30:00 | 0.2 | ACTIVE | FALSE
15178 | Cond. T2 | Utilidades | Araçatuba-SP | Torre 2 | uS/cm | sensor | REGISTERED | _4GjnOfX1d... | 2025-12-15 15:30:11 | 60 | 60 |  | TRUE | 2 | 2025-12-15 15:30:00 | 0.2 | ACTIVE | FALSE
15179 | Taxa Corrosão AC Gel. | Utilidades | Araçatuba-SP | Água Gelada | mm/a | sensor | REGISTERED | _4GjnOfX1d... | 2025-12-15 15:30:11 | 60 | 60 |  | TRUE | 2 | 2025-12-15 15:30:00 | 0.2 | ACTIVE | FALSE
15180 | Tend. Pitting AC Gel. | Utilidades | Araçatuba-SP | Água Gelada | índice | sensor | REGISTERED | _4GjnOfX1d... | 2025-12-15 15:30:11 | 60 | 60 |  | TRUE | 2 | 2025-12-15 15:30:00 | 0.2 | ACTIVE | FALSE
15181 | Taxa Corrosão Cu Gel. | Utilidades | Araçatuba-SP | Água Gelada | mm/a | sensor | REGISTERED | _4GjnOfX1d... | 2025-12-15 15:30:11 | 60 | 60 |  | TRUE | 2 | 2025-12-15 15:30:00 | 0.2 | ACTIVE | FALSE
15182 | Tend. Pitting Cu Gel. | Utilidades | Araçatuba-SP | Água Gelada | índice | sensor | REGISTERED | _4GjnOfX1d... | 2025-12-15 15:30:11 | 60 | 60 |  | TRUE | 2 | 2025-12-15 15:30:00 | 0.2 | ACTIVE | FALSE
15183 | Taxa Corrosão AC Fechado | Utilidades | Araçatuba-SP | Sistema Fechado | mm/a | sensor | REGISTERED | _4GjnOfX1d... | 2025-12-15 15:30:11 | 60 | 60 |  | TRUE | 2 | 2025-12-15 15:30:00 | 0.2 | ACTIVE | FALSE
15184 | Tend. Pitting AC Fechado | Utilidades | Araçatuba-SP | Sistema Fechado | índice | sensor | REGISTERED | _4GjnOfX1d... | 2025-12-15 15:30:11 | 60 | 60 |  | TRUE | 2 | 2025-12-15 15:30:00 | 0.2 | ACTIVE | FALSE
15185 | Taxa Corrosão Cu Fechado | Utilidades | Araçatuba-SP | Sistema Fechado | mm/a | sensor | REGISTERED | _4GjnOfX1d... | 2025-12-15 15:30:11 | 60 | 60 |  | TRUE | 2 | 2025-12-15 15:30:00 | 0.2 | ACTIVE | FALSE
15186 | Tend. Pitting Cu Fechado | Utilidades | Araçatuba-SP | Sistema Fechado | índice | sensor | REGISTERED | _4GjnOfX1d... | 2025-12-15 15:30:11 | 60 | 60 |  | TRUE | 2 | 2025-12-15 15:30:00 | 0.2 | ACTIVE | FALSE
12459 | Consumo gás Pintura 4 | Produção | Araçatuba-SP | Pinturas | kg/h | sensor | REGISTERED | uS0SB-ZosS... | 2025-12-15 15:30:13 | 60 | 60 |  | TRUE | 60 | 2025-12-15 15:29:41 | 0.6 | ACTIVE | FALSE
13577 | Consumo gás Pintura 2 | Produção | Araçatuba-SP | Pinturas | kg/h | sensor | REGISTERED | uS0SB-ZosS... | 2025-12-15 15:30:13 | 60 | 60 |  | TRUE | 60 | 2025-12-15 15:29:21 | 0.9 | ACTIVE | FALSE
13578 | Consumo gás Pint-Geral | Produção | Araçatuba-SP | Pinturas | mA | sensor | REGISTERED | uS0SB-ZosS... | 2025-12-15 15:30:14 | 1440 | 1440 |  | FALSE | 0 | No data |  | ACTIVE | TRUE
12469 | Temp. Bulbo Úmido Araçatuba | KPIs | COLORMAQ_Aru | Torres | °C | kpi | REGISTERED | E20aa9Sgtc... | 2025-12-15 15:30:16 | 60 | 60 |  | TRUE | 3 | 2025-12-15 15:30:00 | 0.3 | ACTIVE | FALSE
12470 | Temp. Approach T1-2 | KPIs | COLORMAQ_Aru | Torres | °C | kpi | REGISTERED | E20aa9Sgtc... | 2025-12-15 15:30:16 | 60 | 60 |  | FALSE | 0 | No data |  | ACTIVE | TRUE
12471 | Temp. Approach T3 | KPIs | COLORMAQ_Aru | Torres | °C | kpi | REGISTERED | E20aa9Sgtc... | 2025-12-15 15:30:16 | 60 | 60 |  | TRUE | 3 | 2025-12-15 15:30:00 | 0.3 | ACTIVE | FALSE
15154 | SEM REGISTRO | SEM REGISTRO | SEM REGISTRO | SEM REGISTRO | SEM REGISTRO | sensor | UNREGISTERED | E20aa9Sgtc... | 2025-12-15 15:30:16 | 60 | 60 |  | FALSE | 0 | No data |  | ACTIVE | FALSE
15164 | SEM REGISTRO | SEM REGISTRO | SEM REGISTRO | SEM REGISTRO | SEM REGISTRO | sensor | UNREGISTERED | E20aa9Sgtc... | 2025-12-15 15:30:16 | 60 | 60 |  | TRUE | 11 | 2025-12-15 15:30:00 | 0.3 | ACTIVE | FALSE
15165 | SEM REGISTRO | SEM REGISTRO | SEM REGISTRO | SEM REGISTRO | SEM REGISTRO | sensor | UNREGISTERED | E20aa9Sgtc... | 2025-12-15 15:30:16 | 60 | 60 |  | TRUE | 11 | 2025-12-15 15:30:00 | 0.3 | ACTIVE | FALSE
15167 | SEM REGISTRO | SEM REGISTRO | SEM REGISTRO | SEM REGISTRO | SEM REGISTRO | sensor | UNREGISTERED | E20aa9Sgtc... | 2025-12-15 15:30:16 | 60 | 60 |  | TRUE | 11 | 2025-12-15 15:30:00 | 0.3 | ACTIVE | FALSE
15168 | SEM REGISTRO | SEM REGISTRO | SEM REGISTRO | SEM REGISTRO | SEM REGISTRO | sensor | UNREGISTERED | E20aa9Sgtc... | 2025-12-15 15:30:16 | 60 | 60 |  | FALSE | 0 | No data |  | ACTIVE | FALSE
15169 | SEM REGISTRO | SEM REGISTRO | SEM REGISTRO | SEM REGISTRO | SEM REGISTRO | sensor | UNREGISTERED | E20aa9Sgtc... | 2025-12-15 15:30:16 | 60 | 60 |  | FALSE | 0 | No data |  | ACTIVE | FALSE
15170 | SEM REGISTRO | SEM REGISTRO | SEM REGISTRO | SEM REGISTRO | SEM REGISTRO | sensor | UNREGISTERED | E20aa9Sgtc... | 2025-12-15 15:30:16 | 60 | 60 |  | FALSE | 0 | No data |  | ACTIVE | FALSE