## Sheet1
sensor_id | sensor_name | node | local | equipment | unit | type | status | apikey | verification_time | minutes_checked | max_delay_time | paused_until | is_receiving_data | data_points_received | last_data_time | time_since_last_data_minutes | data_status | is_critical
13437 | reserva_temp_deaer | Caldeiras | Embu das Artes | Desaerador | - | sensor | REGISTERED | wu4emoZc1R... | 2025-12-15 15:30:24 | 60 | 60 | 2025-12-15 00:00:00 | FALSE | 0 | Disabled |  | DISABLED | FALSE
13439 | reserva_nivel_deaer | Caldeiras | Embu das Artes | Desaerador | - | sensor | REGISTERED | wu4emoZc1R... | 2025-12-15 15:30:24 | 60 | 60 | 2025-12-15 00:00:00 | FALSE | 0 | Disabled |  | DISABLED | FALSE
13441 | reserva_entrada_água | Caldeiras | Embu das Artes | Economizador_ATA | - | sensor | REGISTERED | wu4emoZc1R... | 2025-12-15 15:30:24 | 60 | 60 | 2025-12-15 00:00:00 | FALSE | 0 | Disabled |  | DISABLED | FALSE
13443 | reserva_saída_água | Caldeiras | Embu das Artes | Economizador_ATA | - | sensor | REGISTERED | wu4emoZc1R... | 2025-12-15 15:30:24 | 60 | 60 | 2025-12-15 00:00:00 | FALSE | 0 | Disabled |  | DISABLED | FALSE
13445 | reserva_entrada_gases | Caldeiras | Embu das Artes | Economizador_ATA | - | sensor | REGISTERED | wu4emoZc1R... | 2025-12-15 15:30:24 | 60 | 60 | 2025-12-15 00:00:00 | FALSE | 0 | Disabled |  | DISABLED | FALSE
13447 | reserva_saída_gases | Caldeiras | Embu das Artes | Economizador_ATA | - | sensor | REGISTERED | wu4emoZc1R... | 2025-12-15 15:30:24 | 60 | 60 | 2025-12-15 00:00:00 | FALSE | 0 | Disabled |  | DISABLED | FALSE
13430 | reserva_remota_3 | Caldeiras | Embu das Artes | reserva_remota | - | sensor | REGISTERED | wu4emoZc1R... | 2025-12-15 15:30:24 | 60 | 60 | 2025-12-15 00:00:00 | FALSE | 0 | Disabled |  | DISABLED | FALSE
13431 | reserva_remota_4 | Caldeiras | Embu das Artes | reserva_remota | - | sensor | REGISTERED | wu4emoZc1R... | 2025-12-15 15:30:24 | 60 | 60 | 2025-12-15 00:00:00 | FALSE | 0 | Disabled |  | DISABLED | FALSE
13432 | reserva_remota_5 | Caldeiras | Embu das Artes | reserva_remota | - | sensor | REGISTERED | wu4emoZc1R... | 2025-12-15 15:30:24 | 60 | 60 | 2025-12-15 00:00:00 | FALSE | 0 | Disabled |  | DISABLED | FALSE
13433 | reserva_remota_6 | Caldeiras | Embu das Artes | reserva_remota | - | sensor | REGISTERED | wu4emoZc1R... | 2025-12-15 15:30:24 | 60 | 60 | 2025-12-15 00:00:00 | FALSE | 0 | Disabled |  | DISABLED | FALSE
13434 | reserva_remota_7 | Caldeiras | Embu das Artes | reserva_remota | - | sensor | REGISTERED | wu4emoZc1R... | 2025-12-15 15:30:24 | 60 | 60 | 2025-12-15 00:00:00 | FALSE | 0 | Disabled |  | DISABLED | FALSE
13435 | reserva_remota_8 | Caldeiras | Embu das Artes | reserva_remota | - | sensor | REGISTERED | wu4emoZc1R... | 2025-12-15 15:30:24 | 60 | 60 | 2025-12-15 00:00:00 | FALSE | 0 | Disabled |  | DISABLED | FALSE
13393 | Vazão_vapor | Caldeiras | Embu das Artes | Vapor | ton/h | sensor | REGISTERED | wu4emoZc1R... | 2025-12-15 15:30:24 | 60 | 60 | 2025-12-15 00:00:00 | FALSE | 0 | No data |  | ACTIVE | TRUE
13394 | Pressão_vapor | Caldeiras | Embu das Artes | Vapor | bar | sensor | REGISTERED | wu4emoZc1R... | 2025-12-15 15:30:24 | 60 | 60 | 2025-12-15 00:00:00 | FALSE | 0 | No data |  | ACTIVE | TRUE
13395 | Pres_Dif_vapor | Caldeiras | Embu das Artes | Vapor | bar | sensor | REGISTERED | wu4emoZc1R... | 2025-12-15 15:30:24 | 60 | 60 | 2025-12-15 00:00:00 | FALSE | 0 | No data |  | ACTIVE | TRUE
13398 | teste_1 | Caldeiras | Embu das Artes | Gás | C | sensor | REGISTERED | wu4emoZc1R... | 2025-12-15 15:30:24 | 60 | 60 | 2025-12-15 00:00:00 | FALSE | 0 | No data |  | ACTIVE | TRUE
13399 | Vazão_gás | Caldeiras | Embu das Artes | Gás | Nm3/h | sensor | REGISTERED | wu4emoZc1R... | 2025-12-15 15:30:24 | 60 | 60 | 2025-12-15 00:00:00 | FALSE | 0 | No data |  | ACTIVE | TRUE
13401 | Rendimento | Caldeiras | Embu das Artes | Gás | % | sensor | REGISTERED | wu4emoZc1R... | 2025-12-15 15:30:24 | 60 | 60 | 2025-12-15 00:00:00 | FALSE | 0 | No data |  | ACTIVE | TRUE
15001 | CH1 Valor Médio | Caldeiras | Embu das Artes | Gás | - | sensor | REGISTERED | wu4emoZc1R... | 2025-12-15 15:30:24 | 60 | 60 | 2025-12-15 00:00:00 | FALSE | 0 | No data |  | ACTIVE | TRUE
15002 | Pressão | Caldeiras | Embu das Artes | Gás | bar | sensor | REGISTERED | wu4emoZc1R... | 2025-12-15 15:30:24 | 60 | 60 | 2025-12-15 00:00:00 | FALSE | 0 | No data |  | ACTIVE | TRUE
15003 | Pressão Dif | Caldeiras | Embu das Artes | Gás | mmH2O | sensor | REGISTERED | wu4emoZc1R... | 2025-12-15 15:30:24 | 60 | 60 | 2025-12-15 00:00:00 | FALSE | 0 | No data |  | ACTIVE | TRUE
15004 | Temperatura | Caldeiras | Embu das Artes | Gás | ºC | sensor | REGISTERED | wu4emoZc1R... | 2025-12-15 15:30:24 | 60 | 60 | 2025-12-15 00:00:00 | FALSE | 0 | No data |  | ACTIVE | TRUE
15005 | CH1 Valor Atual | Caldeiras | Embu das Artes | Gás | - | sensor | REGISTERED | wu4emoZc1R... | 2025-12-15 15:30:24 | 60 | 60 | 2025-12-15 00:00:00 | FALSE | 0 | No data |  | ACTIVE | TRUE
15006 | Press_Gás | Caldeiras | Embu das Artes | Gás | bar | sensor | REGISTERED | wu4emoZc1R... | 2025-12-15 15:30:24 | 60 | 60 | 2025-12-15 00:00:00 | FALSE | 0 | No data |  | ACTIVE | TRUE
15007 | Pressão_Dif_Gás | Caldeiras | Embu das Artes | Gás | mmH2O | sensor | REGISTERED | wu4emoZc1R... | 2025-12-15 15:30:24 | 60 | 60 | 2025-12-15 00:00:00 | FALSE | 0 | No data |  | ACTIVE | TRUE
15008 | Temp_Gás | Caldeiras | Embu das Artes | Gás | ºC | sensor | REGISTERED | wu4emoZc1R... | 2025-12-15 15:30:24 | 60 | 60 | 2025-12-15 00:00:00 | FALSE | 0 | No data |  | ACTIVE | TRUE
13428 | Vazão_condensado | Caldeiras | Embu das Artes | Condensado | m3/h | sensor | REGISTERED | wu4emoZc1R... | 2025-12-15 15:30:24 | 60 | 60 | 2025-12-15 00:00:00 | FALSE | 0 | No data |  | ACTIVE | TRUE
13429 | Vazão_água_abrand. | Caldeiras | Embu das Artes | Abrandador | m3/h | sensor | REGISTERED | wu4emoZc1R... | 2025-12-15 15:30:24 | 60 | 60 | 2025-12-15 00:00:00 | FALSE | 0 | No data |  | ACTIVE | TRUE
13436 | Temp_desaerador | Caldeiras | Embu das Artes | Desaerador | C | sensor | REGISTERED | wu4emoZc1R... | 2025-12-15 15:30:24 | 60 | 60 | 2025-12-15 00:00:00 | FALSE | 0 | No data |  | ACTIVE | TRUE
13438 | Nível_desaerador | Caldeiras | Embu das Artes | Desaerador | % | sensor | REGISTERED | wu4emoZc1R... | 2025-12-15 15:30:24 | 60 | 60 | 2025-12-15 00:00:00 | FALSE | 0 | No data |  | ACTIVE | TRUE
13440 | Temp_entrada_água | Caldeiras | Embu das Artes | Economizador_ATA | C | sensor | REGISTERED | wu4emoZc1R... | 2025-12-15 15:30:24 | 60 | 60 | 2025-12-15 00:00:00 | FALSE | 0 | No data |  | ACTIVE | TRUE
13442 | Temp_saída_água | Caldeiras | Embu das Artes | Economizador_ATA | C | sensor | REGISTERED | wu4emoZc1R... | 2025-12-15 15:30:24 | 60 | 60 | 2025-12-15 00:00:00 | FALSE | 0 | No data |  | ACTIVE | TRUE
13444 | Temp_entrada_gases | Caldeiras | Embu das Artes | Economizador_ATA | C | sensor | REGISTERED | wu4emoZc1R... | 2025-12-15 15:30:24 | 60 | 60 | 2025-12-15 00:00:00 | FALSE | 0 | No data |  | ACTIVE | TRUE
13446 | Temp_saída_gases | Caldeiras | Embu das Artes | Economizador_ATA | C | sensor | REGISTERED | wu4emoZc1R... | 2025-12-15 15:30:24 | 60 | 60 | 2025-12-15 00:00:00 | FALSE | 0 | No data |  | ACTIVE | TRUE