## Sheet1
sensor_id | sensor_name | node | local | equipment | unit | type | status | apikey | verification_time | minutes_checked | max_delay_time | paused_until | is_receiving_data | data_points_received | last_data_time | time_since_last_data_minutes | is_critical | data_status
13384 | Condutividade água | MOR_PE | Contrato_1 | Dry_Cooler | uS/cm | sensor | REGISTERED | OGiqS7JALr... | 2025-12-15 15:30:32 | 60 | 60 |  | TRUE | 3 | 2025-12-15 15:15:00 | 15.5 | FALSE | ACTIVE
13385 | Temperatura água | MOR_PE | Contrato_1 | Dry_Cooler | °C | sensor | REGISTERED | OGiqS7JALr... | 2025-12-15 15:30:32 | 60 | 60 |  | TRUE | 3 | 2025-12-15 15:15:00 | 15.5 | FALSE | ACTIVE
13386 | pH | MOR_PE | Contrato_1 | Dry_Cooler | -- | sensor | REGISTERED | OGiqS7JALr... | 2025-12-15 15:30:32 | 60 | 60 |  | TRUE | 3 | 2025-12-15 15:15:00 | 15.5 | FALSE | ACTIVE
13387 | Taxa Corrosão Aço Carbono | MOR_PE | Contrato_1 | Dry_Cooler | mm/a | sensor | REGISTERED | OGiqS7JALr... | 2025-12-15 15:30:32 | 60 | 60 |  | TRUE | 3 | 2025-12-15 15:15:00 | 15.5 | FALSE | ACTIVE
13388 | Taxa Corrosão Cobre | MOR_PE | Contrato_1 | Dry_Cooler | mm/a | sensor | REGISTERED | OGiqS7JALr... | 2025-12-15 15:30:32 | 60 | 60 |  | TRUE | 3 | 2025-12-15 15:15:00 | 15.5 | FALSE | ACTIVE
13389 | Taxa Corrosão Alumínio | MOR_PE | Contrato_1 | Dry_Cooler | mm/a | sensor | REGISTERED | OGiqS7JALr... | 2025-12-15 15:30:32 | 60 | 60 |  | TRUE | 3 | 2025-12-15 15:15:00 | 15.5 | FALSE | ACTIVE
14936 | Tend. Pitting Aço Carbono | MOR_PE | Contrato_1 | Dry_Cooler | - | sensor | REGISTERED | OGiqS7JALr... | 2025-12-15 15:30:32 | 60 | 60 |  | TRUE | 3 | 2025-12-15 15:15:00 | 15.5 | FALSE | ACTIVE
14937 | Tend. Pitting Cobre | MOR_PE | Contrato_1 | Dry_Cooler | - | sensor | REGISTERED | OGiqS7JALr... | 2025-12-15 15:30:32 | 60 | 60 |  | TRUE | 3 | 2025-12-15 15:15:00 | 15.5 | FALSE | ACTIVE
14938 | Tend. Pitting Alumínio | MOR_PE | Contrato_1 | Dry_Cooler | - | sensor | REGISTERED | OGiqS7JALr... | 2025-12-15 15:30:32 | 60 | 60 |  | TRUE | 3 | 2025-12-15 15:15:00 | 15.5 | FALSE | ACTIVE
14952 | Condutividade água | Vedapack_RJ | Contrato_1 | Dry Coller | uS/cm | sensor | REGISTERED | cv4lwY-Czq... | 2025-12-15 15:30:34 | 60 | 60 |  | TRUE | 2 | 2025-12-15 15:30:00 | 0.6 | FALSE | ACTIVE
14953 | Temperatura água | Vedapack_RJ | Contrato_1 | Dry Coller | °C | sensor | REGISTERED | cv4lwY-Czq... | 2025-12-15 15:30:34 | 60 | 60 |  | TRUE | 2 | 2025-12-15 15:30:00 | 0.6 | FALSE | ACTIVE
14954 | pH | Vedapack_RJ | Contrato_1 | Dry Coller | -- | sensor | REGISTERED | cv4lwY-Czq... | 2025-12-15 15:30:34 | 60 | 60 |  | TRUE | 2 | 2025-12-15 15:30:00 | 0.6 | FALSE | ACTIVE
14955 | Taxa Corrosão Aço Carbono | Vedapack_RJ | Contrato_1 | Dry Coller | mm/a | sensor | REGISTERED | cv4lwY-Czq... | 2025-12-15 15:30:34 | 60 | 60 |  | TRUE | 2 | 2025-12-15 15:30:00 | 0.6 | FALSE | ACTIVE
14956 | Taxa Corrosão Cobre | Vedapack_RJ | Contrato_1 | Dry Coller | mm/a | sensor | REGISTERED | cv4lwY-Czq... | 2025-12-15 15:30:34 | 60 | 60 |  | TRUE | 2 | 2025-12-15 15:30:00 | 0.6 | FALSE | ACTIVE
14957 | Taxa Corrosão Alumínio | Vedapack_RJ | Contrato_1 | Dry Coller | mm/a | sensor | REGISTERED | cv4lwY-Czq... | 2025-12-15 15:30:34 | 60 | 60 |  | TRUE | 2 | 2025-12-15 15:30:00 | 0.6 | FALSE | ACTIVE
14958 | Tend. Pitting Aço Carbono | Vedapack_RJ | Contrato_1 | Dry Coller | - | sensor | REGISTERED | cv4lwY-Czq... | 2025-12-15 15:30:34 | 60 | 60 |  | TRUE | 2 | 2025-12-15 15:30:00 | 0.6 | FALSE | ACTIVE
14959 | Tend. Pitting Cobre | Vedapack_RJ | Contrato_1 | Dry Coller | - | sensor | REGISTERED | cv4lwY-Czq... | 2025-12-15 15:30:34 | 60 | 60 |  | TRUE | 2 | 2025-12-15 15:30:00 | 0.6 | FALSE | ACTIVE
14960 | Tend. Pitting Alumínio | Vedapack_RJ | Contrato_1 | Dry Coller | - | sensor | REGISTERED | cv4lwY-Czq... | 2025-12-15 15:30:34 | 60 | 60 |  | TRUE | 2 | 2025-12-15 15:30:00 | 0.6 | FALSE | ACTIVE
14961 | Temperatura água | Bettanin_RS | Contrato_1 | Dry Cooler | °C | sensor | REGISTERED | Z2KaKOdZDt... | 2025-12-15 15:30:36 | 60 | 60 |  | FALSE | 0 | No data |  | TRUE | ACTIVE
15011 | Condutividade água | Tramontina_RS | Contrato_1 | Dry Coller | uS/cm | sensor | REGISTERED | hcdmwSyyl-... | 2025-12-15 15:30:38 | 60 | 60 |  | TRUE | 1 | 2025-12-15 15:15:00 | 15.6 | FALSE | ACTIVE
15012 | Temperatura água | Tramontina_RS | Contrato_1 | Dry Coller | °C | sensor | REGISTERED | hcdmwSyyl-... | 2025-12-15 15:30:38 | 60 | 60 |  | TRUE | 1 | 2025-12-15 15:15:00 | 15.6 | FALSE | ACTIVE
15013 | pH | Tramontina_RS | Contrato_1 | Dry Coller | -- | sensor | REGISTERED | hcdmwSyyl-... | 2025-12-15 15:30:38 | 60 | 60 |  | TRUE | 1 | 2025-12-15 15:15:00 | 15.6 | FALSE | ACTIVE
15014 | Taxa Corrosão Aço Carbono | Tramontina_RS | Contrato_1 | Dry Coller | mm/a | sensor | REGISTERED | hcdmwSyyl-... | 2025-12-15 15:30:38 | 60 | 60 |  | TRUE | 1 | 2025-12-15 15:15:00 | 15.6 | FALSE | ACTIVE
15015 | Taxa Corrosão Cobre | Tramontina_RS | Contrato_1 | Dry Coller | mm/a | sensor | REGISTERED | hcdmwSyyl-... | 2025-12-15 15:30:38 | 60 | 60 |  | TRUE | 1 | 2025-12-15 15:15:00 | 15.6 | FALSE | ACTIVE
15016 | Taxa Corrosão Alumínio | Tramontina_RS | Contrato_1 | Dry Coller | mm/a | sensor | REGISTERED | hcdmwSyyl-... | 2025-12-15 15:30:38 | 60 | 60 |  | TRUE | 1 | 2025-12-15 15:15:00 | 15.6 | FALSE | ACTIVE
15017 | Tend. Pitting Aço Carbono | Tramontina_RS | Contrato_1 | Dry Coller | - | sensor | REGISTERED | hcdmwSyyl-... | 2025-12-15 15:30:38 | 60 | 60 |  | TRUE | 1 | 2025-12-15 15:15:00 | 15.6 | FALSE | ACTIVE
15018 | Tend. Pitting Cobre | Tramontina_RS | Contrato_1 | Dry Coller | - | sensor | REGISTERED | hcdmwSyyl-... | 2025-12-15 15:30:38 | 60 | 60 |  | TRUE | 1 | 2025-12-15 15:15:00 | 15.6 | FALSE | ACTIVE
15019 | Tend. Pitting Alumínio | Tramontina_RS | Contrato_1 | Dry Coller | - | sensor | REGISTERED | hcdmwSyyl-... | 2025-12-15 15:30:38 | 60 | 60 |  | TRUE | 1 | 2025-12-15 15:15:00 | 15.6 | FALSE | ACTIVE
15131 | Condutividade água | Volvo_PR | Contrato_1 | Chiller | uS/cm | sensor | REGISTERED | kFYnKrybjN... | 2025-12-15 15:30:40 | 60 | 60 |  | TRUE | 5 | 2025-12-15 15:30:00 | 0.7 | FALSE | ACTIVE
15132 | Temperatura água | Volvo_PR | Contrato_1 | Chiller | °C | sensor | REGISTERED | kFYnKrybjN... | 2025-12-15 15:30:40 | 60 | 60 |  | TRUE | 5 | 2025-12-15 15:30:00 | 0.7 | FALSE | ACTIVE
15133 | pH | Volvo_PR | Contrato_1 | Chiller | -- | sensor | REGISTERED | kFYnKrybjN... | 2025-12-15 15:30:40 | 60 | 60 |  | TRUE | 5 | 2025-12-15 15:30:00 | 0.7 | FALSE | ACTIVE
15134 | Taxa Corrosão Aço Carbono | Volvo_PR | Contrato_1 | Chiller | mm/a | sensor | REGISTERED | kFYnKrybjN... | 2025-12-15 15:30:40 | 60 | 60 |  | FALSE | 0 | No data |  | TRUE | ACTIVE
15135 | Taxa Corrosão Cobre | Volvo_PR | Contrato_1 | Chiller | mm/a | sensor | REGISTERED | kFYnKrybjN... | 2025-12-15 15:30:40 | 60 | 60 |  | TRUE | 1 | 2025-12-15 14:31:00 | 59.7 | FALSE | ACTIVE
15136 | Taxa Corrosão Alumínio | Volvo_PR | Contrato_1 | Chiller | mm/a | sensor | REGISTERED | kFYnKrybjN... | 2025-12-15 15:30:40 | 60 | 60 |  | TRUE | 5 | 2025-12-15 15:30:00 | 0.7 | FALSE | ACTIVE
15137 | Tend. Pitting Aço Carbono | Volvo_PR | Contrato_1 | Chiller | - | sensor | REGISTERED | kFYnKrybjN... | 2025-12-15 15:30:40 | 60 | 60 |  | FALSE | 0 | No data |  | TRUE | ACTIVE
15138 | Tend. Pitting Cobre | Volvo_PR | Contrato_1 | Chiller | - | sensor | REGISTERED | kFYnKrybjN... | 2025-12-15 15:30:40 | 60 | 60 |  | TRUE | 1 | 2025-12-15 14:31:00 | 59.7 | FALSE | ACTIVE
15139 | Tend. Pitting Alumínio | Volvo_PR | Contrato_1 | Chiller | - | sensor | REGISTERED | kFYnKrybjN... | 2025-12-15 15:30:40 | 60 | 60 |  | TRUE | 5 | 2025-12-15 15:30:00 | 0.7 | FALSE | ACTIVE
15140 | Condutividade água | Lindal_SP | Contrato_1 | Dry Cooler | uS/cm | sensor | REGISTERED | DOa85VAfqD... | 2025-12-15 15:30:42 | 60 | 60 |  | FALSE | 0 | No data |  | TRUE | ACTIVE
15141 | Temperatura água | Lindal_SP | Contrato_1 | Dry Cooler | °C | sensor | REGISTERED | DOa85VAfqD... | 2025-12-15 15:30:42 | 60 | 60 |  | FALSE | 0 | No data |  | TRUE | ACTIVE
15142 | pH | Lindal_SP | Contrato_1 | Dry Cooler | -- | sensor | REGISTERED | DOa85VAfqD... | 2025-12-15 15:30:42 | 60 | 60 |  | FALSE | 0 | No data |  | TRUE | ACTIVE
15143 | Taxa Corrosão Aço Carbono | Lindal_SP | Contrato_1 | Dry Cooler | mm/a | sensor | REGISTERED | DOa85VAfqD... | 2025-12-15 15:30:42 | 60 | 60 |  | FALSE | 0 | No data |  | TRUE | ACTIVE
15144 | Taxa Corrosão Cobre | Lindal_SP | Contrato_1 | Dry Cooler | mm/a | sensor | REGISTERED | DOa85VAfqD... | 2025-12-15 15:30:42 | 60 | 60 |  | FALSE | 0 | No data |  | TRUE | ACTIVE
15145 | Taxa Corrosão Alumínio | Lindal_SP | Contrato_1 | Dry Cooler | mm/a | sensor | REGISTERED | DOa85VAfqD... | 2025-12-15 15:30:42 | 60 | 60 |  | FALSE | 0 | No data |  | TRUE | ACTIVE
15146 | Tend. Pitting Aço Carbono | Lindal_SP | Contrato_1 | Dry Cooler | - | sensor | REGISTERED | DOa85VAfqD... | 2025-12-15 15:30:42 | 60 | 60 |  | FALSE | 0 | No data |  | TRUE | ACTIVE
15147 | Tend. Pitting Cobre | Lindal_SP | Contrato_1 | Dry Cooler | - | sensor | REGISTERED | DOa85VAfqD... | 2025-12-15 15:30:42 | 60 | 60 |  | FALSE | 0 | No data |  | TRUE | ACTIVE
15148 | Tend. Pitting Alumínio | Lindal_SP | Contrato_1 | Dry Cooler | - | sensor | REGISTERED | DOa85VAfqD... | 2025-12-15 15:30:42 | 60 | 60 |  | FALSE | 0 | No data |  | TRUE | ACTIVE
13583 | Condutividade água | Processo | ENVASES_PE | Dry Cooler | uS/cm | sensor | REGISTERED | 9tVR_slAKN... | 2025-12-15 15:30:44 | 60 | 60 |  | TRUE | 3 | 2025-12-15 15:15:00 | 15.7 | FALSE | ACTIVE
13584 | Temperatura água | Processo | ENVASES_PE | Dry Cooler | °C | sensor | REGISTERED | 9tVR_slAKN... | 2025-12-15 15:30:44 | 60 | 60 |  | TRUE | 3 | 2025-12-15 15:15:00 | 15.7 | FALSE | ACTIVE
13585 | pH | Processo | ENVASES_PE | Dry Cooler | -- | sensor | REGISTERED | 9tVR_slAKN... | 2025-12-15 15:30:44 | 60 | 60 |  | FALSE | 0 | No data |  | TRUE | ACTIVE
13586 | Taxa Corrosão Cobre | Processo | ENVASES_PE | Dry Cooler | mm/a | sensor | REGISTERED | 9tVR_slAKN... | 2025-12-15 15:30:44 | 60 | 60 |  | TRUE | 3 | 2025-12-15 15:15:00 | 15.7 | FALSE | ACTIVE
13587 | Taxa Corrosão Alumínio | Processo | ENVASES_PE | Dry Cooler | mm/a | sensor | REGISTERED | 9tVR_slAKN... | 2025-12-15 15:30:44 | 60 | 60 |  | TRUE | 3 | 2025-12-15 15:15:00 | 15.7 | FALSE | ACTIVE
14940 | Tend. Pitting Cobre | Processo | ENVASES_PE | Dry Cooler | - | sensor | REGISTERED | 9tVR_slAKN... | 2025-12-15 15:30:44 | 60 | 60 |  | TRUE | 3 | 2025-12-15 15:15:00 | 15.7 | FALSE | ACTIVE
14941 | Tend. Pitting Alumínio | Processo | ENVASES_PE | Dry Cooler | - | sensor | REGISTERED | 9tVR_slAKN... | 2025-12-15 15:30:44 | 60 | 60 |  | TRUE | 3 | 2025-12-15 15:15:00 | 15.7 | FALSE | ACTIVE